## Slide 1: Introducing Learning Algorithms within an Operational State Aggregation Method for Transmission System Planning
Kristof Phillips and Erik F. Alvarez

## Slide 2: Problem setting: TEP
Spain ES2030
Europe TF2030
Case SEP2030
2’999’548 rows, 3’513’436 columns, 11’508’142 nonzeros
Case ES2030
5’162’243 rows, 6’832’942 columns, 21’554’828 nonzeros
Case TYNDP DE2050
22’157’904 rows, 26’966’415 columns, 73’814’159 nonzeros
Case IEEE118
22’380’894 rows, 28’787’324 columns, 75’025’891 nonzeros
IEEE118
TEP characteristics:
Planning representation:
  Static: target year (2030)
  Dynamic: climate years or 2030-2050
System operation representation
  Hours: 8736
  Physical network
  ESS
  RES
Alternative features:
  Techno-economical details:
    Operational time-dependent constraints (unit commitment)
    Operating reserves
  Sector coupling with:
    Gas, transport, industry, and heat

## Slide 3
ESOM
ESOM
Input Data
Representative Time Series
ESOM
Representative Time Series
Relaxed ESOM
Benchmark:
Full time horizon
Traditional:
Split time horizon
Based in Costs:
Split time horizon
Features
ESOM
Representative Time Series
Proposal:
Split time horizon
ANN: Feature Estimator
Features
Input Time Series
(ANN + Kmedoids)
Clustering
Method
Clustering
Method
Clustering
Method

## Slide 4
ESOM
ESOM
ESOM
Clustering
Method
Features
Representative Time Series
Relaxed ESOM
Clustering
Method
Relaxed ESOM
ML algorithm
Training
Clustering
Method
ESOM
Evaluation
No temporal reduction
Input-based clustering
Ex-post clustering
NN-assisted Ex-post clustering

## Slide 5
Goal
Estimate the hourly operational cost of the OPF problem
Sensitive to
  Demand/RES availability changes
  physical network changes
Approach
  Input
    Demand (per location)
    Renewable availability factors (per technology per location)
    Investment Booleans representing physical network characteristics
  Intermediate layer
    Represents physical quantity
    Occurs in the loss function
  Output = cost estimate
Neural Network for cost estimation
Investment ooleans
…
Input layer
Single output
…
…
Demands
Availabilities
Investment dummies
Hidden layers
…
Operational cost for one hour
Intermediate layer
…
Hidden layers
…

## Slide 6
Goal
Train and test on a subset of desired outcomes
Achieve speedup by obtaining remaining outcomes with NN instead of optimization
Approach
Optimization performed for
  Subset of hours
  All individual line candidates
Split obtained dataset into training and test sets
Tune network design
Obtain cost estimates for the remaining hours with NN
Neural network training
Desired output for clustering
Data used for training
Data estimated by NN
Test
Train
Val
(Input, output)

## Slide 7
Size of training data set
Goal
Establish how much training data is needed (the less the better)
Find out which selection method of training samples works best
Approach
Train neural networks with incremental number of samples
Observe stabilization in the accuracy of estimates

## Slide 8
Prevent overfitting
Network and training parameters
Approach
Train many networks with different hyper parameters
Select the one with best performance on test set
Find optimal “”Hyperparameters”
  Network design
  Training characteristics
Goals
Approach
Use validation set to check performance on data unseen in training
Select NN with best validation set performance

## Slide 9
Cases studies
3-bus
9n
RTS24
Peak Load
260.75 MW
Installed Thermal Capacity
400 MW
Installed RES Capacity
150 MW
Existing Transmission
3 lines
Candidate Transmission
9 lines
Cont. Variables*
171’277
Constraints*
349’440
Solving Time
181 sec.
*After presolve
Peak Load
1618.33 MW
Installed Thermal Capacity
3716.8 MW
Installed RES Capacity
2400 MW
Existing Transmission
12 lines
Candidate Transmission
36 lines
Cont. Variables*
171’277
Constraints*
349’440
Solving Time
924 sec.
Peak Load
2552.13 MW
Installed Thermal Capacity
3318 MW
Installed RES Capacity
3646 MW
Existing Transmission
34 lines
Candidate Transmission
21 lines
Cont. Variables*
969’401
Constraints*
1’009’078
Solving Time
220’748 sec.

## Slide 10
Operational cost estimation
Use the trained NN to obtain cost estimates for every hour of the year
Good accuracy is observed, and needed!
Very fast full year inference:
Case | Inference time (s)
3-bus | 0.003
9n | 0.02
RTS24 | 0.03

## Slide 11
Line benefits
Reference grid
ANN Cost
Estimator
ANN Cost
Estimator
Benefit 1 (Benefit 2) =
Reference grid – PINT
(TOOT – Reference grid)
Sequence per candidate asset and hour
The PINT and TOOT
Line Benefit Methods:
The Put IN one at the Time (PINT)
The Take Out One at the Time (TOOT)
Shapley value
Aumann-shapley value
[source] ENTSO-E: Guideline for Cost Benefit Analysis of Grid Development Projects
Link: https://eepublicdownloads.entsoe.eu/clean-documents/tyndp-documents/Cost%20Benefit%20Analysis/191023_CBA3_Draft%20for%20consultation.pdf
Features
PINT (or TOOT)
Disadvantages of the PINT (TOOT):
Computationally expensive

## Slide 12
Line benefits estimation
Line benefits are typically fraction of operational cost
High accuracy of predictions is needed
For the “viable” candidates results suggest accuracy is high enough
Note
Why not train to predict LB directly?
 Proved difficult

## Slide 13
Clustering process
Dimensionality reduction
Classification of operational states into 3 subsets: positive/negative significative and non-significative states
Computation of the optimal K-medoids
Selection of the representative operational states and their weights
Dimensionality reduction using PCA
Optimal number of k-medoids:
Elbow method

## Slide 14
Benchmarking: Definition
TEP
Clustering
Method
Features
Representative Time Series
Relaxed TEP
ML algorithm
Training
Clustering
Method
Evaluation
No temporal reduction
Input-based clustering
Ex-post clustering
NN-assisted Ex-post clustering
Representative Time Series
TEP
Operational Cost
Clustering
Method
Representative Time Series
Line Benefits
Clustering
Method
Operational Cost
Fixing
Relaxed
TEP
Line Benefits
Representative Time Series
Solution A
Solution D
Solution B
Solution E
Solution F
Solution G
Full Year Operation
TEP
Fixing
Full Year Operation
TEP
Fixing
Full Year Operation
TEP
Fixing
Full Year Operation

## Slide 15
Benchmarking: Operational states for RTS24
K=10
K=100

## Slide 16
Benchmarking
Investment decisions obtained by reduced temporal model
  Temporal reduction obtained by clustering on different features
Full year operational model to obtain total system cost (TSC)

## Slide 17
Next Steps
Investigate why line benefits clustering is not better than RES & Demand clustering
Tackle new approach
  Hourly investment decision instead of line benefits
   Run 8736 investment models with 1 timestep