## Slide 1: Neural Network for cost estimation: Hyperparameter tuning

## Slide 2: Overview
Problem setting + motivation (2-3)
Methodology
  Process overview (1)
  Optimization problem (2)
  Neural network (2)
  Line benefits (1)
  Clustering process (1)
Results thus far
  Neural network output (6)
  Line benefits (2)
Future tasks (1)

## Slide 3: Process overview
*ESOM: Energy System Optimization Model
**ANN: Artificial Neural Network
ESOM
ESOM
Input Data
Representative Time Series
ESOM
Representative Time Series
Relaxed ESOM
Benchmark:
Full time horizon
Traditional:
Split time horizon
Based in Costs:
Split time horizon
Features
(Investment benefit)
ESOM
Representative Time Series
Proposal:
Split time horizon
ANN: Cost Estimator
Investment Benefit
Features
Input Time Series
(ANN + Kmedoids)
Clustering
Method
Clustering
Method
Clustering
Method

## Slide 4: ESOM: Transmission Expansion Planning considering AC-OPF
Minimize: |  |  | (1.1)
With constraints: |  |  | 
 |  |  | (1.2)
 |  |  | (1.3)
 |  |  | (1.4)
 |  |  | (1.5)
 |  |  | (1.6)
 |  |  | (1.7)
 |  |  | (1.8)
 |  |  | (1.9) (1.10)
Minimize: |  |  | (1.1)
With constraints: |  |  | 
 |  |  | (1.2)
 |  |  | (1.3)
 |  |  | (1.4)
 |  |  | (1.5)
 |  |  | (1.6)
 |  |  | (1.7)
 |  |  | (1.8)
 |  |  | (1.9) (1.10)
Non-convex
Getting a MILP model by applying:
Disjunctive constraints
Piecewise functions
McCormick envelopes

## Slide 5: ESOM: Why considering AC-OPF?
RTS-GMLC
Source: Scenario Creation and Power Conditioning Strategies for
Operating Power Grids with Two-Stage Stochastic Economic Dispatch
Link: https://www.nrel.gov/docs/fy21osti/75363.pdf
Implications on the Gen. capacity planning
Implications on the transmission expansion
Disadvantages:
ACOPF’s problem size is ~4x-6x of the DCOPF
Computation burden: ~6x-10x

## Slide 6: Line Benefits
Reference grid
ANN Cost
Estimator
ANN Cost
Estimator
Benefit 1 (Benefit 2) =
Reference grid – PINT
(TOOT – Reference grid)
Sequence per candidate asset and hour
The PINT and TOOT
Line Benefit Methods:
The Put IN one at the Time (PINT)
The Take Out One at the Time (TOOT)
Shapley value
Aumann-shapley value
[source] ENTSO-E: Guideline for Cost Benefit Analysis of Grid Development Projects
Link: https://eepublicdownloads.entsoe.eu/clean-documents/tyndp-documents/Cost%20Benefit%20Analysis/191023_CBA3_Draft%20for%20consultation.pdf
ANN: Cost Estimator
Investment Benefit
PINT (or TOOT)

## Slide 7: Clustering process
Dimensionality reduction
Optimal number of representatives/clusters
Selection/aggregation using K-medoids
Dimensionality reduction using PCA
Optimal number of clusters

## Slide 8: Line Benefits: Preliminary results