## Slide 1: Neural Network for cost estimation: Hyperparameter tuning

## Slide 2: Overview
Problem setting + motivation (2-3)
Methodology
  Process overview (1)
  Optimization problem (2)
  Neural network (2)
  Line benefits (1)
  Clustering process (1)
Results thus far
  Neural network output (6)
  Line benefits (2)
Future tasks (1)

## Slide 3: Process overview
*ESOM: Energy System Optimization Model
**ANN: Artificial Neural Network
ESOM
ESOM
Input Data
Representative Time Series
ESOM
Representative Time Series
Relaxed ESOM
Benchmark:
Full time horizon
Traditional:
Split time horizon
Based in Costs:
Split time horizon
Features
(Investment benefit)
ESOM
Representative Time Series
Proposal:
Split time horizon
ANN: Cost Estimator
Investment Benefit Method
Features
Input Time Series
(ANN + Kmedoids)
Clustering
Method
Clustering
Method
Clustering
Method

## Slide 4: ESOM: Transmission Expansion Planning considering AC-OPF
Minimize: |  |  | (1.1)
With constraints: |  |  | 
 |  |  | (1.2)
 |  |  | (1.3)
 |  |  | (1.4)
 |  |  | (1.5)
 |  |  | (1.6)
 |  |  | (1.7)
 |  |  | (1.8) (1.9)
Minimize: |  |  | (1.1)
With constraints: |  |  | 
 |  |  | (1.2)
 |  |  | (1.3)
 |  |  | (1.4)
 |  |  | (1.5)
 |  |  | (1.6)
 |  |  | (1.7)
 |  |  | (1.8) (1.9)
Non-convex

## Slide 5: ESOM: Why considering AC-OPF?
RTS-GMLC
Source: Scenario Creation and Power Conditioning Strategies for
Operating Power Grids with Two-Stage Stochastic Economic Dispatch
Link: https://www.nrel.gov/docs/fy21osti/75363.pdf
Implications on the capacity planning
Implications on the transmission expansion

## Slide 6: Line Benefits
*ESOM: Energy System Optimization Model
*PINT: Put IN one at a Time
*TOOT: Take Out One at a Time
Relaxed ESOM
in hourly basis
Economic Dispatch
in hourly basis
ANN
Estimator
ANN
Estimator
Benefit per asset in hourly basis
PINT Sequence
Sequence per candidate asset
The PINT and TOOT approaches
Approaches:
The Put IN one at the Time (PINT)
The Take Out One at the Time (TOOT)
Shapley value
Aumann-shapley value
[source] ENTSO-E: Guideline for Cost Benefit Analysis of Grid Development Projects
Link: https://eepublicdownloads.entsoe.eu/clean-documents/tyndp-documents/Cost%20Benefit%20Analysis/191023_CBA3_Draft%20for%20consultation.pdf
ANN: Cost Estimator
Investment Benefit Method